## Slide 1: ML Results
For CA Report

## Slide 2: Training Datasets Breakdown
 | Constrained | NCombined | Unique Normal | Unique Normal Options Random
Config Violation: Trafo1 | 0 | 0 | 0 | 1294
Config Violation: Trafo2 | 0 | 0 | 0 | 1686
Config Violation: Trafo3 | 0 | 0 | 0 | 1671
Config Violation: Feeder1 | 0 | 239 | 5 | 128
Config Violation: Feeder2 | 0 | 208 | 567 | 1034
Config Violation: Feeder3 | 0 | 239 | 589 | 953
Lines over 80% | 7914 | 582 | 2016 | 2445
Load Lost > 20% | 0 | 1783 | 5442 | 1772
Transformers over 80% | 1428 | 275 | 5653 | 5624
More than 8 open switches | 3247 | 699 | 2176 | 407
bus PU violated | 0 | 0 | 140 | 170
No anomaly | 7411 | 15975 | 59953 | 28497
Total | 20000 | 20000 | 76541 | 45681

## Slide 3: Testing Datasets Breakdown
 | Unconstrained | Attack | Special
Config Violation: Trafo1 | 5002 | 65536 | 0
Config Violation: Trafo2 | 586 | 16384 | 0
Config Violation: Trafo3 | 83 | 4096 | 0
Config Violation: Feeder1 | 10112 | 131072 | 0
Config Violation: Feeder2 | 3705 | 32768 | 0
Config Violation: Feeder3 | 446 | 8192 | 0
Lines over 80% | 6 | 0 | 8361
Load Lost > 20% | 0 | 0 | 0
Transformers over 80% | 0 | 0 | 6639
More than 8 open switches | 56 | 0 | 0
bus PU violated | 1 | 0 | 0
No anomaly | 3 | 4096 | 5000
Total | 20000 | 262144 | 20000

## Slide 4: ML Results
Model | TN | TP | FN | FP | Overall statistics | Overall statistics |  | 
 |  |  |  |  | Accuracy | Precision | Recall | F1 score
Logistic Regression | 3 | 5479 | 14518 | 0 | 27.41% | 1 | 0.2739 | 0.4301
Decision Tree | 2 | 19873 | 124 | 1 | 99.37% | 0.9999 | 0.9937 | 0.9968
Random Forest | 2 | 19990 | 7 | 1 | 99.96% | 0.9999 | 0.9996 | 0.9997
AdaBoost | 2 | 19987 | 10 | 1 | 99.94% | 0.9999 | 0.9994 | 0.9997
XGBoost | 2 | 19987 | 10 | 1 | 99.94% | 0.99994 | 0.9994 | 0.9997
Trained using Constrained, Tested on Unconstrained
+VE: 19997, -VE: 3

## Slide 5: ML Results
Trained using NCombined, Tested on Unconstrained
+VE: 19997, -VE: 3
Model | TN | TP | FN | FP | Overall statistics | Overall statistics |  | 
 |  |  |  |  | Accuracy | Precision | Recall | F1 score
Logistic Regression | 3 | 3774 | 16223 | 0 | 18.88% | 1 | 0.1887 | 0.3175
Decision Tree | 2 | 19707 | 290 | 1 | 98.54% | 0.9994 | 0.9854 | 0.9926
Random Forest | 0 | 19991 | 6 | 3 | 99.95% | 0.9998 | 0.9996 | 0.9997
AdaBoost | 0 | 19996 | 0 | 3 | 99.98% | 0.9998 | 1 | 0.9999
XGBoost | 0 | 19997 | 0 | 3 | 99.98% | 0.9998 | 1 | 0.9999

## Slide 6: ML Results
Trained using Unique Normal, Tested on Unconstrained
+VE: 19997, -VE: 3
Model | TN | TP | FN | FP | Overall statistics | Overall statistics |  | 
 |  |  |  |  | Accuracy | Precision | Recall | F1 score
Logistic Regression | 2 | 18702 | 1295 | 1 | 93.52% | 0.9999 | 0.9350 | 0.9665
Decision Tree | 2 | 19439 | 558 | 1 | 97.20% | 0.9999 | 0.9720 | 0.9858
Random Forest | 2 | 199983 | 14 | 1 | 99.92% | 0.9994 | 0.9992 | 0.9996
AdaBoost | 1 | 19994 | 3 | 2 | 99.97% | 0.9998 | 0.9998 | 0.9998
XGBoost | 0 | 19997 | 0 | 3 | 99.98% | 0.9998 | 1 | 0.9999

## Slide 7: ML Results
Trained using UNOR, Tested on Unconstrained
+VE: 19997, -VE: 3
Model | TN | TP | FN | FP | Overall statistics | Overall statistics |  | 
 |  |  |  |  | Accuracy | Precision | Recall | F1 score
Logistic Regression | 3 | 11217 | 8780 | 0 | 56.10% | 1 | 0.5609 | 0.7187
Decision Tree | 1 | 19868 | 129 | 2 | 99.34% | 0.9998 | 0.9935 | 0.9967
Random Forest | 0 | 19996 | 1 | 3 | 99.98% | 0.9998 | 0.9999 | 0.9998
AdaBoost | 0 | 19996 | 1 | 3 | 99.98% | 0.9998 | 0.9999 | 0.9998
XGBoost | 0 | 19997 | 0 | 3 | 99.98% | 0.9998 | 1 | 0.9999

## Slide 8: ML Results
Trained using Constrained, Tested on Attack
+VE: 258048, -VE: 4096
Model | TN | TP | FN | FP | Overall statistics | Overall statistics |  | 
 |  |  |  |  | Accuracy | Precision | Recall | F1 score
Logistic Regression | 4080 | 1895 | 256153 | 16 | 2.27% | 0.9916 | 0.007345 | 0.01457
Decision Tree | 0 | 258048 | 0 | 4096 | 98.43% | 0.9843 | 1 | 0.9921
Random Forest | 0 | 258048 | 0 | 4096 | 98.43% | 0.9843 | 1 | 0.9921
AdaBoost | 0 | 258048 | 0 | 4096 | 98.43% | 0.9843 | 1 | 0.9921
XGBoost | 0 | 258048 | 0 | 4096 | 98.43% | 0.9843 | 1 | 0.9921

## Slide 9: ML Results
Trained using NCombined, Tested on Attack
+VE: 258048, -VE: 4096
Model | TN | TP | FN | FP | Overall statistics | Overall statistics |  | 
 |  |  |  |  | Accuracy | Precision | Recall | F1 score
Logistic Regression | 4096 | 61160 | 196888 | 0 | 24.89% | 1 | 0.2370 | 0.3831
Decision Tree | 3072 | 235144 | 22904 | 1024 | 90.87% | 0.9956 | 0.9112 | 0.9515
Random Forest | 0 | 258048 | 0 | 4096 | 98.43% | 0.9843 | 1 | 0.9921
AdaBoost | 0 | 258048 | 0 | 4096 | 98.43% | 0.9843 | 1 | 0.9921
XGBoost | 0 | 258048 | 0 | 4096 | 98.43% | 0.9843 | 1 | 0.9921

## Slide 10: ML Results
Trained using Unique Normal, Tested on Attack
+VE: 258048, -VE: 4096
Model | TN | TP | FN | FP | Overall statistics | Overall statistics |  | 
 |  |  |  |  | Accuracy | Precision | Recall | F1 score
Logistic Regression | 4096 | 4844 | 253204 | 0 | 3.41% | 1 | 0.01877 | 0.03685
Decision Tree | 4096 | 206319 | 51729 | 0 | 80.26% | 1 | 0.7995 | 0.8886
Random Forest | 4096 | 225739 | 32309 | 0 | 87.67% | 1 | 0.8747 | 0.9332
AdaBoost | 0 | 258048 | 0 | 4096 | 98.43% | 0.9843 | 1 | 0.9308
XGBoost | 4096 | 237739 | 20309 | 0 | 92.25% | 1 | 0.9212 | 0.9590

## Slide 11: ML Results
Trained using UNOR, Tested on Attack
+VE: 258048, -VE: 4096
Model | TN | TP | FN | FP | Overall statistics | Overall statistics |  | 
 |  |  |  |  | Accuracy | Precision | Recall | F1 score
Logistic Regression | 3133 | 196758 | 61290 | 963 | 76.25% | 0.9951 | 0.7624 | 0.8634
Decision Tree | 4096 | 249530 | 8518 | 0 | 96.75% | 1 | 0.9669 | 0.9832
Random Forest | 4096 | 253795 | 4252 | 0 | 98.37% | 1 | 0.9835 | 0.9916
AdaBoost | 4096 | 237739 | 20309 | 0 | 92.25% | 1 | 0.9212 | 0.9590
XGBoost | 4096 | 256456 | 1592 | 0 | 99.39% | 1 | 0.9938 | 0.9969

## Slide 12: ML Results
Trained using XGBoost, Tested on Attack
+VE: 258048, -VE: 4096
Model | TN | TP | FN | FP | Overall statistics | Overall statistics |  | 
 |  |  |  |  | Accuracy | Precision | Recall | F1 score
Constrained | 0 | 258048 | 0 | 4096 | 98.43% | 0.9843 | 1 | 0.9921
NCombined | 0 | 258048 | 0 | 4096 | 98.43% | 0.9843 | 1 | 0.9921
Unique Normal | 4096 | 249530 | 8518 | 0 | 96.75% | 1 | 0.9669 | 0.9668
UNOR | 4096 | 256456 | 1592 | 0 | 99.39% | 1 | 0.9938 | 0.9969

## Slide 13: ML Results
Trained using Constrained, Tested on Special
+VE: 15000, -VE: 5000
Model | TN | TP | FN | FP | Overall statistics | Overall statistics |  | 
 |  |  |  |  | Accuracy | Precision | Recall | F1 score
Logistic Regression | 5000 | 6838 | 8162 | 0 | 59.19% | 1 | 0.4558 | 0.6262
Decision Tree | 106 | 14524 | 476 | 4894 | 73.15% | 0.7479 | 0.9628 | 0.8439
Random Forest | 4982 | 13402 | 1598 | 18 | 91.92% | 0.9986 | 0.8934 | 0.9431
AdaBoost | 1582 | 13915 | 1085 | 3418 | 77.48% | 0.8028 | 0.9276 | 0.8607
XGBoost | 4923 | 14785 | 215 | 77 | 98.54% | 0.9948 | 0.9856 | 0.9902

## Slide 14: ML Results
Trained using NCombined, Tested on Special
+VE: 15000, -VE: 5000
Model | TN | TP | FN | FP | Overall statistics | Overall statistics |  | 
 |  |  |  |  | Accuracy | Precision | Recall | F1 score
Logistic Regression | 5000 | 5 | 14995 | 0 | 25.02% | 1 | 0.0003 | 0.0006664
Decision Tree | 5000 | 4130 | 10870 | 0 | 45.65% | 1 | 0.2753 | 0.4317
Random Forest | 5000 | 8351 | 6649 | 0 | 66.75% | 1 | 0.5567 | 0.7152
AdaBoost | 5000 | 3 | 14997 | 0 | 25.01% | 1 | 0.0002 | 0.0003999
XGBoost | 5000 | 11565 | 3435 | 0 | 82.82% | 1 | 0.7710 | 0.8706

## Slide 15: ML Results
Trained using Unique Normal, Tested on Special
+VE: 15000, -VE: 5000
Model | TN | TP | FN | FP | Overall statistics | Overall statistics |  | 
 |  |  |  |  | Accuracy | Precision | Recall | F1 score
Logistic Regression | 5000 | 135 | 14865 | 0 | 25.67% | 1 | 0.009 | 0.01783
Decision Tree | 4983 | 4163 | 10837 | 17 | 45.73% | 0.9959 | 0.2775 | 0.4340
Random Forest | 5000 | 11809 | 3191 | 0 | 84.04% | 1 | 0.7872 | 0.8809
AdaBoost | 5000 | 0 | 15000 | 0 | 25.00% | 0 | 0 | 0
XGBoost | 4979 | 14424 | 576 | 21 | 97.01% | 0.9985 | 0.9616 | 0.9797

## Slide 16: ML Results
Trained using UNOR, Tested on Special
+VE: 15000, -VE: 5000
Model | TN | TP | FN | FP | Overall statistics | Overall statistics |  | 
 |  |  |  |  | Accuracy | Precision | Recall | F1 score
Logistic Regression | 4959 | 7492 | 7508 | 41 | 62.25% | 0.9945 | 0.4994 | 0.6649
Decision Tree | 4346 | 10943 | 4057 | 654 | 76.44% | 0.9436 | 0.7295 | 0.8228
Random Forest | 4949 | 14477 | 523 | 51 | 97.13% | 0.9964 | 0.9651 | 0.9805
AdaBoost | 5000 | 6657 | 8343 | 0 | 58.28% | 1 | 0.4438 | 0.6147
XGBoost | 4966 | 14483 | 517 | 34 | 97.24% | 0.9976 | 0.9655 | 0.9813

## Slide 17: ML Results
Trained using XGBoost, Tested on Special
+VE: 15000, -VE: 5000
Training Dataset | TN | TP | FN | FP | Overall statistics | Overall statistics |  | 
 |  |  |  |  | Accuracy | Precision | Recall | F1 score
Constrained | 4923 | 14785 | 215 | 77 | 98.54% | 0.9948 | 0.9856 | 0.9902
NCombined | 5000 | 11565 | 3435 | 0 | 82.82% | 1 | 0.7710 | 0.8706
Unique Normal | 4979 | 14424 | 576 | 21 | 97.01% | 0.9985 | 0.9616 | 0.9797
UNOR | 4966 | 14483 | 517 | 34 | 97.24% | 0.9976 | 0.9655 | 0.9813

## Slide 18: ML Results
Trained using UNOR, Tested on Unconstrained, Attack and Special
ANN: best_params = {"n_layers":4, "first_layer_nodes":256, "last_layer_nodes":4, "activation_func":"relu" ,"loss_func":"binary_crossentropy", "epochs": 100, "batch_size": 100}
Test Dataset | TN | TP | FN | FP | Overall statistics | Overall statistics |  | 
 |  |  |  |  | Accuracy | Precision | Recall | F1 score
Unconstrained | 2 | 19117 | 880 | 1 | 0.956 | 0.9999 | 0.956 | 0.9775
Attack | 4096 | 255903 | 2145 | 0 | 0.9918 | 1 | 0.9917 | 0.9958
Special | 4954 | 14846 | 154 | 46 | 0.99 | 0.9908 | 0.9699 | 0.9802

## Slide 19: ML Results with weights
Trained using UNOR, Tested on Unconstrained, Attack and Special
ANN: best_params = {"n_layers":4, "first_layer_nodes":256, "last_layer_nodes":4, "activation_func":"relu" ,"loss_func":"binary_crossentropy", "epochs": 100, "batch_size": 100}
With more weights on negatives: p > 0.012  positive
Test Dataset | TN | TP | FN | FP | Overall statistics | Overall statistics |  | 
 |  |  |  |  | Accuracy | Precision | Recall | F1 score
Unconstrained | 2 | 19346 | 651 | 1 | 0.9674 | 0.9999 | 0.9674 | 0.9834
Attack | 4087 | 252659 | 5389 | 9 | 0.9794 | 0.9978 | 0.9791 | 0.9894
Special | 4507 | 14999 | 1 | 493 | 0.9753 | 0.9014 | 0.9998 | 0.948

## Slide 20: Unique_Normal_Options_Random

## Slide 21
ANN: Train(Unique_Normal_Options_Random) + Test(Unconstrained)

## Slide 22
ANN: Train(Unique_Normal_Options_Random) + Test(Attack)

## Slide 23
ANN: Train(Unique_Normal_Options_Random) + Test(Special)

## Slide 24: Feature Importance
Using XGBoost Built-in Feature Importance

## Slide 25: XGBoost: Train(Unique_Normal_Options_Random) + Test(Attack) Using XGBoost inbuilt importance score

## Slide 26: Feature Importance
SHAP (SHapley Additive exPlanations) is a game theoretic approach to explain the output of any machine learning model. It connects optimal credit allocation with local explanations using the classic Shapley values from game theory and their related extensions

## Slide 27: XGBoost: Train(Unique_Normal_Options_Random) + Test(Attack) Using SHAP
The diagram shows features each contributing to push the model output from the base value (the average model output over the training dataset we passed) to the model output. Features pushing the prediction higher are shown in red, those pushing the prediction lower are in blue. Another way to visualize the same explanation is to use a force plot (these are introduced in our Nature BME paper)
Just for 1st Datapoint
shap.plots.waterfall(shap_values[0])
shap.plots.force(shap_values[0])
Notes: SHAP (SHapley Additive exPlanation) values attribute to each feature the change in the expected model prediction when conditioning on that feature. They explain how to get from the base value E[f(z)] that would be predicted if we did not know any features to the current output f(x). This diagram shows a single ordering. When the model is non-linear or the input features are not independent, however, the order in which features are added to the expectation matters, and the SHAP values arise from averaging the φi values across all possible orderings.

## Slide 29: XGBoost: Train(Unique_Normal_Options_Random) + Test(Attack) Using SHAP
shap.plots.force(shap_values[0:1000])

## Slide 30: XGBoost: Train(Unique_Normal_Options_Random) + Test(Attack) Using SHAP
shap.plots.beeswarm(shap_values)
shap.plots.bar(shap_values)

## Slide 31: NCombined

## Slide 32: Ncombined Test
{'activation_func': 'tanh', 'batch_size': 1024, 'epochs': 100, 'first_layer_nodes': 256, 'last_layer_nodes': 4, 'loss_func': 'binary_crossentropy', 'n_layers': 4}

## Slide 33: Unique_Normal Test

## Slide 34: Special Test

## Slide 35: Attack Test

## Slide 36: XGBoost: Train(Ncombined):
Test(Ncombined)
Test(Unique_Normal)
Test(Special_New)

## Slide 37: Unique Normal

## Slide 38: ANN: Train(Unique_Normal) + Test(Unique_Normal)
{'activation_func': 'tanh', 'batch_size': 1024, 'epochs': 100, 'first_layer_nodes': 256, 'last_layer_nodes': 4, 'loss_func': 'binary_crossentropy', 'n_layers': 4}

## Slide 39: ANN: Train(Unique_Normal) + Test(NCombined)

## Slide 40: ANN: Train(Unique_Normal) + Test(Special_New)

## Slide 41: ANN: Train(Unique_Normal) + Test(Attack)

## Slide 42: XGBoost: Train(Unique_Normal) + Test(Unique_Normal)
Same dataset with Train_Test_Split
  (80% Train Data, 20% Test Data)
Test(New dataset)
Test(NCombined)
Test(Special_New)

## Slide 43: XGBoost: Train(Unique_Normal) + Test (Unique_Normal)
Using only Grid Configurations:

## Slide 44: XGBoost: Train(Unique_Normal) + Test (Attack_Dataset)
Using only Grid Configurations:

## Slide 45: Unique_Normal_Options_Random + Placing more weights on FN
Notes: Remember that your neural network outputs probabilities, not classifications. It is up to you to use the probabilities to make classifications. The software default is to use a threshold of 0.50.5 to determine classification, but that might not be the right number for you.
While there are two outcomes, there is likely a third option in the decision-making process of your medical application: “inconclusive, collect more information.” Perhaps you will want something like below 0.30.3 is category 00, above 0.70.7 is category 11, and between 0.30.3 and 0.70.7 is inconclusive.

## Slide 46
ANN: Train(Unique_Normal_Options_Random) + Test(Attack)
p = 0.012

## Slide 47: ANN: Train(Unique_Normal_Options_Random) + Test(Unique_Normal)

## Slide 48: ANN: Train(Unique_Normal_Options_Random) + Test(Unique_Normal_Random)

## Slide 49: ANN: Train(Unique_Normal_Options_Random) + Test(Unique_Normal_Options_Random)

## Slide 50: ANN: Train(Unique_Normal_Random) + Test(Special)

## Slide 51: Special New

## Slide 52: XGBoost: Train(Special_New)
Test(Special_New)
Test(Unique_Normal)
Test(NCombined)

## Slide 53: Ncombined Test
{'activation_func’: sigmoid', 'batch_size': 1024, 'epochs': 100, 'first_layer_nodes': 256, 'last_layer_nodes': 4, 'loss_func': 'binary_crossentropy', 'n_layers’: 2}

## Slide 54: Unique_Normal Test

## Slide 55: Special Test

## Slide 56: Attack Test

## Slide 57: Unconstrained/Constrained/Special

## Slide 58: ANN: Train(Constrained) + Test(Constrained)
best_params = {'activation_func': 'relu', 'batch_size': 100, 'epochs': 100, 'first_layer_nodes': 16, 'last_layer_nodes': 4, 'loss_func': 'binary_crossentropy', 'n_layers': 4}

## Slide 59: ANN: Train(Constrained) + Test(Special 75% +VE)

## Slide 60: ANN: Train(Constrained) + Test(Special 50% +VE)

## Slide 61: ANN: Train(Special 75% +VE) + Test(Constrained)
best_params = {'activation_func': 'sigmoid', 'batch_size': 100, 'epochs': 100, 'first_layer_nodes': 256, 'last_layer_nodes': 4, 'loss_func': 'binary_crossentropy', 'n_layers': 2}

## Slide 62: ANN: Train(Special 75% Malicious Command) + Test(Special 75% +VE)

## Slide 63: ANN: Train(Special 75% +VE) + Test(Special 50% +VE)

## Slide 64: ANN: Train(Special 50% +VE) + Test(Constrained)
best_params = {'activation_func': 'sigmoid', 'batch_size': 100, 'epochs': 60, 'first_layer_nodes': 256, 'last_layer_nodes': 4, 'loss_func': 'binary_crossentropy', 'n_layers': 3}

## Slide 65: ANN: Train(Special 50% +VE) + Test(Special 75% +VE)

## Slide 66: ANN: Train(Special 50% +VE) + Test(Special 50% +VE)

## Slide 67: XGBoost: Train(Constrained) + Test(Constrained)

## Slide 68: XGBoost: Train(Constrained) + Test(Special 75% +VE)

## Slide 69: XGBoost: Train(Constrained) + Test(Special 50% +VE)

## Slide 70: XGBoost: Train(Special 75% +VE) + Test(Constrained)

## Slide 71: XGBoost: Train(Special 75% +VE) + Test(Special +75% +VE)

## Slide 72: XGBoost: Train(Special 75% +VE) + Test(Special 50% +VE)

## Slide 73: XGBoost: Train(Special 50% +VE) + Test(Constrained)

## Slide 74: XGBoost: Train(Special 50% +VE) + Test(Special +75% +VE)

## Slide 75: XGBoost: Train(Special 50% +VE) + Test(Special 50% +VE)

## Slide 76: Evaulation
Train on constraint  Overall better results than Train on special
Test on constraint  Use constraint dataset to train for best performance
Test on special  Use special dataset to train for best performance
ANN and XGBoost performance very similar
Train on special remarks: Using this to test on constraint dataset or special dataset will always lead to 0 False negatives  Good thing as malicious commands will always be detected
However, using this to test on constraint leads to many false positives (>10k)  very low accuracy  will have to double check using PSME always
Train on constraint remarks: Generally Okay performance when testing on constraint/special.
Have a number of FNs and FPs (100-300) when testing on constraint
Have 0 False Positives when testing on special, but False Negatives range from 1000-4000  Will always detect a non-malicious command correct

## Slide 77: Generation of Datasets
Normal without disturbance:

## Slide 78: Mapping
trafo_0_in_service
trafo_1_in_service
trafo_2_in_service
trafo_3_in_service
trafo_4_in_service
trafo_5_in_service
Bus_0
Bus_1
Bus_2
Bus_3
Bus_5
Bus_6
Bus_4
Bus_7
fb = [0,2,2,2,1,3,3]
lb = [2,4,5,3,3,6,7]
length = [0.05, 2, 1.5, 0.05, 0.05, 1.5, 2] # Increased distance for 4 lines.
for i in range(7):
self.create_line_with_switch(l_index=i, first_bus=fb[i], last_bus=lb[i], length_km=length[i], std_type=std_types[0])
CB_3
fb = [8, 8, 8, 8, 9, 9, 9]
lb = [10, 11, 12, 9, 13, 14, 15]
length = [0.3, 0.2, 0.1, 0.005, 0.2, 0.3, 0.1]
for i in range(7):
self.create_line_with_switch(l_index=i+7, first_bus=fb[i], last_bus=lb[i], length_km=length[i], std_type=std_types[1])
Bus_8
Bus_9
CB_10
Load 0 Load 1 Load 2 Load 3 Load 4 Load 5 Bus 10-15
Bus_16
Bus_17
Load6 Load7 Load8 Load9 Load10 Load11 Load12 Load13 Bus_20-27
CB_151
CB_152
CB_153
CB_158
Bus_18
Bus_19
Load14 Load15 Load16 Load17 Bus_28-31
CB_171
CB_172
CB_173
CB_178
CB_1
CB_0
CB_4
CB_2
CB_5
CB_6
CB_7
CB_8
CB_9
CB_11
CB_12
CB_13
CB_14
CB_15
CB_16
CB_17
CB_18
CB_19
CB_20
CB_21
CB_22
CB_23
CB_24
CB_25

## Slide 79
s
GRID
GRID
110kV
110kV
110kV
110kV
10kV
10kV
10kV
10kV
110kV
110kV
S/S-1
S/S-2
S/S-3
10kV
10kV
Line L1
Line L2
Line L5
Line L6
CB-3
CB-10
CB-153
CB-158
CB-173
CB-178
T0
T1
T2
T3
T4
T5
Line L0
Line L4
Line L7
Line L8
Line L9
Line L11
Line L12
Line L13
L14
L15
L16
L17
L18
L19
L20
L21
L22
L23
L24
L25
CB-151
CB-152
CB-171
CB-172
load0
load1
load2
load3
load4
load5
load6
load7
load8
load9
load10
load11
load12
load13
load14
load15
load16
load17
Feeder0
Feeder1
CB-0
CB-4
CB-1
CB-2
CB-5
CB-6
CB-7
CB-8
CB-9
CB-11
CB-12
CB-13
CB-14
CB-15
CB-16
CB-17
CB-18
CB-19
CB-20
CB-21
CB-22
CB-23
CB-24
CB-25
Bus_0
Bus_1
Bus_2
Bus_3
Bus_5
Bus_6
Bus_4
Bus_7
Bus_8
Bus_9
Bus 10-15
Bus_16
Bus_17
Bus 20 -27
Bus_18
Bus_19
Bus 28 - 31
Options: ['feeder_0', 'feeder_1', 'feeder_2', 'trafo_0', 'trafo_1', 'trafo_2', 'switch_7', 'switch_8', 'switch_9', 'switch_11', 'switch_12', 'switch_13', 'switch_14', 'switch_15', 'switch_16', 'switch_17', 'switch_18', 'switch_19', 'switch_20', 'switch_21', 'switch_22', 'switch_23', 'switch_24', 'switch_25’]
Explain Dataset generation with flowchart/code
Normal with disturbance  Apply options to create disturbance
Normal without disturbance  Using constrained
Combined both above then test
Use imodels to interpret results
Compare the different features importance in different datasets.
Good to mention that we utilize gpu and set it up
Notes: Not compressed

## Slide 80
Load before multiplying with load factor
Load after multiplying with load factor (2.8)

## Slide 81: NCombined

## Slide 82: ANN: Train(Ncombined) + Test(Ncombined)

## Slide 83: ANN: Train(Ncombined) + Test(Ncombined) + Oversampling

## Slide 84: ANN: Train(Ncombined) + Test(Constrained)

## Slide 85: ANN: Train(Constrained) + Test(NCombined)

## Slide 86: ANN: Train(Constrained) + Test(NCombined) + Oversampling

## Slide 87: XGBoost: Train(Ncombined) + Test(Constrained)